Plan:

- Have the provision for them to have their name and logo printed on the reports.

- Check for problem in exporting reports in word and see if exporting in words is a good option or not with all the other information on the reports.

- Add the feature to edit patient details.

- Set up wireless networks and check the problems that they are facing.

- They want feature to prompt the name of the Clinician while registering the specimen.

- In the TAT reports have provision for the following information.
a.      Patient/sample registration time
b.      Sample collection time
c.      Result entry time

- Check where the problem for the technicians of Douala had risen about the language setting.

- Wait for more feedback to come from Uganda and ask for more backups as the backup sent by them has errors.

Summary:

- Try to get the issues resolved and add the new features and send the update by next Friday.

- Wait for more feedback from Uganda about the 3rd lab and ask them to send the backup again.

Uganda:

Summary of Issues:

- Problem in correcting results and registration information once entered.

- Lab admins at St Stephen cannot change:

- Clinical officer

- Prof.

- Sister

- Self request.

- Counselor

- Reports exported in word are distorted.

- Fails to export word document yet there is provision for it in the patient report.(ALIVE)

- Clinical data fails to be saved even when fed into the system in the patients report, the next time you log in and request for the same report again, they will be missing which calls for double work in case you want to retrieve them again

- When working as a manager you are not able to generate a patient report and see the results entered, its only possible when you have logged in as a technician. Kindly resolve this.

Recommendations:

- Have logo and name printed on their reports.

- Have feature to re-enter patient details.

- In this lab the above individuals are the ones who request for test to be done. Mr. & Mrs. should be dropped.

- Export report in excel if possible

- Combining of patient results to be printed on a single paper such that on request for a report to print, there are at least two or three (3) reports printed possibly on the same paper

- Include clinical data known in the system to help on the long manual process like for the case of HIV the following should be on that space: Clinical diagnosis, VCT, PMTCT, Exposed.

Notes and Questions:

- Ask for the backup again as it has faults and could not check all the problems like 3,4 and 6.

- The backup sent form ALIVE did not patients registered.

- The backup sent from St Stephens, on unzipping shows that it is from ALIVE lab.

- They are still to send feedback from 3rd lab.

- Clinical data has to be defined in the test description. They are trying to add it in the patient report and wanted to recollect it later when they reprint the report. I plan to ask them to try to add it to the test description.

Feedback from BUEA:

We identified a few setbacks with the wireless today which caused a mix-up in
the version of BLIS used.

  1. First of all, when both computers are connected through the wireless network, Corrections to results entered can be done only on the server (the computer containing the main BLIS directory) and not on the second machine
containing just the BLIS Setup icon.

2. Exporting a Patient’s result to MS Word is possible only on the server and not on the second machine and this makes it a little difficult especially if editing results is to be done simultaneously to minimize turn-around-time.

3. Results which have been registered and exported to MS Word on the server, when sent to the second machine for maybe printing, can’t be edited on the second machine.